## Slide 1: Identifying ion features in metabolomics
Stephen Barnes, PhD, UAB
Xiuxia Du, PhD, UNC-Charlotte
2019 MCBIOS tutorial session

## Slide 2: XCMS software
XCMS identifies ion features in LC-MS and GC-MS datasets
Originally published in 2006 and has undergone substantial development since
Available as a R program (see Dr. Du)
Also available as an online, platform-independent, form
  https://xcmsonline.scripps.edu/
  This is what we will demonstrate next
  To use XCMSonline, you must first register to get an account

## Slide 6: Datasets that have been analyzed

## Slide 8
Overlay of the TICs from each urine

## Slide 9
Overlay of the TICs from each urine

## Slide 10
Notice that the GEN treated samples (----) are causing RT variation

## Slide 11
This Cloud plot shows ions that are increased (green) or lowered (red). The size of each circle is the fold change and the color intensity represents the the p-value (more intense means a lower p-value).
XCMS also has an interactive Cloud plot (see later).

## Slide 12
XCMS does not take into account normalization. Urine volumes are dependent on fluid intake that can be variable from animal to animal.
Nonetheless, it can be seen that the controls tend to cluster together (except for animal #6). The GEN group are much more scattered.

## Slide 13: Results table

## Slide 14
This ion feature is associated with the GEN treatment (red line) and not the controls (black line)

## Slide 15
The metabolite is genistein 7-glucuronide
Genistein is an isomer of apigenin.
13C-isotope of genistein 7-glucuronide

## Slide 16: A peak decreased by genistein

## Slide 17: The interactive cloud plot

## Slide 18: Mousing over an increased peak reveals its information
In reality, the ion is p-ethylphenol sulfate, a metabolite of genistein. This is revealed from MSMS spectra of this ion.

## Slide 19: Going back to the first page to download the XCMS data
This downloads many files including an Excel file containing m/z, retention time and peak area values that we will use to further process the data and carry out statistical tests and perform pathway analysis. Other files include box and whisker plots and EICs.